Report Date:  2022-07-11

Report Name: 7.11.22 Kurt Meharry_transcript

Employee Name: Kurt Meharry

Transcript: It's Kurt Smith calling in time from Harry Medical Job for Monday, July 11, 2022. We came in at 6.30. We left at 3.00. Kurt Smith had eight hours. Richard Holt had seven hours. Ron Smith, Josh Kaye, Tony Dixon, Doug Craddock, Dalton Scott, Thomas Parker all had eight hours. We continue on the second floor installing domestic water mains in the corridor. Continue on the third floor installing domestic water piping for living spaces. Continue on the sixth floor installing sanitary vents through the roof.