Report Date:  2022-07-20

Report Name: 7.20.22 Kurt Meharry_transcript

Employee Name: Kurt Meharry

Transcript: This is Kurt Smith calling in time from a Harry Medical College job for Wednesday, July 20th, 2022, came in at 6.30, we left at 3. Kurt Smith, Josh Kay, Ron Smith, Doug Craddock, Tony Dixon, Dalton Scott, Thomas Parker, Catherine Zarbok, and Nathan McMillan had eight hours. Jack Baird had three and a half hours. We continued on the second floor installing domestic water piping in main and branches. We continued on the third floor testing domestic water piping and installing rainwater and overflow drain piping. We continued on the fourth floor installing domestic water piping for living spaces. And we continue on the sixth floor installing vents through the roof. I've got a correction. We continued on the fourth floor installing rainwater and overflow drain piping.