Report Date:  2022-07-27

Report Name: 7.27.22 Kurt Meharry_transcript

Employee Name: Kurt Meharry

Transcript: This is Kurt Smith calling in time from Harry Medical College job. For Wednesday, July 27, 2022, came in at 6.30, we left at 3. Kurt Smith, Jack Baird, Ron Smith, Tony Dixon, Dalton Scott, Thomas Parker, Catherine Zarbok, Nathan McMillan, all had eight hours. Doug Craddock had five hours. We continue on the second floor installing domestic water mains and branches. And tested two B mains and branches on domestic water. We continue on the fourth floor installing domestic water piping for living spaces and installing roof and overflow drain piping.