Report Date:  2022-07-29

Report Name: 7.29.22 Kurt Meharry_transcript

Employee Name: Kurt Meharry

Transcript: This is Kurt Smith calling in time from the Harry Medical College job for Friday, July 29, 2022. We came in at 6.30, we left at 3.00. Kurt Smith, Jack Baird, Ron Smith, Doug Craddick, Tony Dixon, Dalton Scott, Thomas Parker, Catherine Zarbok, Nathan McMillan had 8 hours, Josh Kay had 6 hours. We continued on the second floor installing domestic water mains and branches. We completed on the third floor installing washing machine boxes and tested domestic water piping in rooms 324 and 322 looking for leaks. And continued on the fourth floor installing domestic water piping for living spaces. And started the fifth floor installing storm and overflow drain piping.