Report Date:  2022-07-05

Report Name: 7.5.22 Kenny CC_transcript

Employee Name: Kenny

Transcript: Today's Tuesday, July 5th 2022 job report known as excitement myself. I had six and a half hours Scott Russell six and a half and Owen glass burner six and a half. We left too early due to high temps the heat We got six inch whore or hole cord out of the north one line over in pad area see Sox see for the Crease interceptor vents for the foreign three four inch fence that all tied together went out one time The six inch tank vent we can't core a hole for and take out the stem wall north yet Until a reshore is moved after the second floor is poured also, we've got some layout done with Luthe on the Sog a area they're gonna start digging excavating area drains and Piping that comes from sog a over towards the west towards the detention basin Area where the other drains are we'll end up hooking up there on the other side of ramp eventually and that'll be over That was it for the project for today We're still waiting on points. I believe we'll have them for the one see Hopefully tomorrow Wednesday, I believe we're supposed to have them as it for the job for the day We still have no underground work with Lampe yet Still waiting on Luthe and Gico to get all the way that was it for the job for the day