Report Date:  2022-07-06

Report Name: 7.6.22 Brian Nash Twr 2_transcript

Employee Name: Brian Nash

Transcript: Today's Wednesday, July 6. Workers for today, let's see, from 6.30 to 3 was Mitchell David, Keith Ellythorp, Brad Cornwall, Jerry Pope, Charlie King, Matthew Brown, Nathan McMillan, Brian Yonker. Today we did hangers on 27. Also finished filling the high-pressure line, checking for the leak. Leak held. Started installing backflows on 27. Copperizers and overhead on 26. Trim out on 12, only had one man on it. And testing copper on 19 and caulking.